Hardware Gap Analysis Report

Titanium  vs  EnTouch  ·  Generated April 13, 2026 17:46

Executive Summary

| Total Hardware | EnTouch — Yes | EnTouch — Partial | EnTouch — No |
| --- | --- | --- | --- |
| 21 | 4 | 9 | 8 |

Yes = Full match    Partial = Limited/bundled/integrated    No = Not offered

Hardware Comparison Matrix

| Hardware | Description | Companies Using | Titanium | EnTouch | Notes |
| --- | --- | --- | --- | --- | --- |
| Smart Thermostat | Networked thermostat for efficient HVAC control | Titanium,EnTouch,SmartRent,75F | Yes | Yes |  |
| Smart Lock | Keypad or credential-based door access control | PointCentral,SmartRent | No | No | EnTouch does not offer door access control. |
| CO2 Sensor | Standalone carbon dioxide air quality monitor | Titanium,75F | Yes | Partial | EnTouch may integrate CO2 sensing in other devices. |
| VOC Sensor | Volatile organic compound air quality detector | Titanium,75F | Yes | Partial | EnTouch may integrate VOC sensing in other devices. |
| Temperature Sensor | Standalone ambient temperature sensor | Titanium,75F | Yes | Partial | EnTouch may integrate temperature sensing in other devices. |
| IAQ Multi-Sensor | Combined indoor air quality sensor | 75F | No | Partial | EnTouch may offer integrated IAQ solutions. |
| Humidity Sensor | Standalone relative humidity sensor | Titanium,75F | Yes | Partial | EnTouch may integrate humidity sensing in other devices. |
| Water Leak Detector | Sensor detecting water presence or flood events | Titanium,Kairos | Yes | No | EnTouch does not offer water leak detection. |
| Water Valve Controller | Motorized valve to shut off water supply remotely | Titanium,Kairos | Yes | No | EnTouch does not offer water valve control. |
| Energy Meter / Sub-Meter | Circuit-level electricity consumption monitoring | Titanium,EnTouch,75F | Yes | Yes |  |
| Smart Plug / Outlet | Controllable smart outlet for load management | PointCentral,SmartRent | No | No | EnTouch does not offer smart plugs or outlets. |
| Occupancy / Motion Sensor | PIR or radar-based presence detection | Titanium,SmartRent,75F | Yes | Partial | EnTouch may integrate occupancy sensing in other devices. |
| Door / Window Sensor | Open/close contact sensor | PointCentral,SmartRent | Yes | No | EnTouch does not offer door/window sensors. |
| Wireless Gateway / Hub | Local hub bridging devices to cloud platform | Titanium,SmartRent,75F | Yes | Yes |  |
| BACnet Controller | BACnet-compatible building automation controller | Titanium,75F | Yes | Partial | EnTouch may offer limited BACnet integration. |
| Modbus Controller | Modbus RTU/TCP integration gateway | Titanium,75F | Yes | Partial | EnTouch may offer limited Modbus integration. |
| ZigBee Coordinator | ZigBee mesh radio coordinator | SmartRent | No | No | EnTouch does not offer ZigBee coordination. |
| Z-Wave Controller | Z-Wave mesh radio controller | PointCentral,SmartRent | No | No | EnTouch does not offer Z-Wave control. |
| Demand-Controlled Ventilation | CO2-driven ventilation control for ASHRAE 62.1 | Titanium,75F | Yes | Partial | EnTouch may offer integrated ventilation control. |
| Fault Detection System | Automated HVAC fault detection and diagnostics | Titanium,EnTouch,75F | Yes | Yes |  |
| Leak Detection Cable | Zone-based water leak detection cable | Kairos | No | No | EnTouch does not offer leak detection cables. |

⚠  AI-generated analysis — verify against official EnTouch product documentation before use in sales or procurement decisions.